**JUNE 14, 2023**

**MONTHLY MAINTENANCE COMMITTEE REPORT**

**TO THE BEACHWALK BOD**

1. The dripping Pool water fill valve has been replaced with a union type ball valve.
2. Pool deck light fixtures that were replaced in the past have been caulked.
3. The second Clubhouse bathroom has been finished to match the completed bathroom that had the water damage.
4. One pool umbrella damaged during the Memorial Weekend storm was repaired.

Eugene Lisewski, Jr.

Chairman, Maintenance Committee