**APRIL 10, 2024**

**MONTHLY MAINTENANCE COMMITTEE REPORT**

**TO THE BEACHWALK BOD**

1. The pump timer at the South Dolphin Fountain has been replaced. It was failing to turn on in the morning.
2. The new umbrella table tops were fastened to the existing bases.
3. The broken pavement in front of the Clubhouse has been repaired.
4. The side staircase at the Clubhouse has been repainted to match the walkways.
5. The pump room flowmeter and pool deck fill pipe for the Spa have been repaired.
6. The ventilation fan in the chemical room has been repaired.

Eugene Lisewski, Jr.

Chairman, Maintenance Committee