**BEACHWALK BOD MEETING**

**NOVEMBER 9, 2022**

**MAINTENANCE COMMITTEE REPORT**

1. A ground fault was corrected in the center wall mounted light fixture at the poolside Dolphin Fountain.
2. A new motor starting capacitor was installed on the pool side Dolphin Fountain pump.
3. The Spa and Pool filters are both timed to operate for only six hours per day during the off season.
4. One light bulb was replaced on the pool deck.

Eugene Lisewski, Jr.

Chairman, Maintenance Committee