**BEACHWALK BOD MEETING**

**SEPTEMBER 14, 2022**

**MAINTENANCE COMMITTEE REPORT**

1. The two sliding screen doors on the Cabana were replaced due to severe corrosion of the frames.

1. We’ve purchased a special ball valve to repair the dripping pool fill pipe. This is a union ball valve which, unlike a common ball valve, can be installed without breaking the concrete deck. Installation is planned after the pool closes for the season.
2. The lid and housing of the strainer basket for the 5HP pool pump were addressed for flatness and a new gasket installed.

Eugene Lisewski, Jr.

Chairman, Maintenance Committee